part. to heat lost from ducts where ther pass though unheated spaces. slabs. and wall and floor cavities.

Small systems

Heating systems v.ith outputs of 40.000 Btu per hour and less are hard to come by. Most U.S.-made systems start at about 85.000 Btu/ hr. To some extent. both gas-and oilfired heaters can be downsi1:ed below their rated capacity. If standard sources don~ pan out. try suppliers of mobile homes. motels. and apartments. Their small systems often ha\'e closed combustion and through-thewall venting. both desirable in low-energy hou.sa While these are generally designed as room heaters. you can sometimes add simple distribution systems.

Another promising approach. developed

mostly to promote gas heating in condos and apanments. is to heat "'i th a highefficiency water heater. This can work with any distribution system: radiant floor. baseboard. or air. While tapping a heating loop off solar or con\'entional hot water systems is nothing new. onty recently have manufactureT$ sought code approvals.

A good source of information on these systems is the East Ohio Gas Co.• P.O. Box SiS9. Cleveland. Ohio 4410 1. which has put together a manual for heating "'ith water heaters. TIle company's Paul Swenson maintains the$e systems are safe and reliable and put no added strain on the water heater. One caution: because the heating loop circulates oomestic waler. all plumbing must be new and rated for ptotable water (e.g.. brass or stainless-steel pumps are required).

While standard baseboard convectors can be used with a water heater. runs must be longer because water temperatures are lower. You can save wall space by using fan/coil units to transfer heat from the water to air. Single-room fan/ coil units (see lisling) have been used in solar healing for several years. For larger loads. a new product called Hydroheal is on the market. Hydroheat is a centrally ducled water-toair system thaI can accommodate air ruters. central air-conditioning. and other air· heating features.

East Ohio recommends heating with water heaters for loads up to about 28.000 Btu/ hr. while ApoUo rates its largest unit at 45,000 Btu/ hr. In general if you can heat a Ihing space with the same size water healer you \,'ould buy for domestic hot water alone. that choice should prove economical. As systems gel larger. the economic advantages start to disappear since large, expensh·e. and inefficient commercial "'"ilter heaters are needed.

One way to treat larger loads. suggested to me by a fan /coil manufacturer. is to use a ga.Tfl./"ed tankless water heater "'ith an inexpensive hot·water storage tank. Both DHW and space heating could draw off the

~ heatpipe ~=-•

Click in the top of this page for an updated version of this article online at InspectAPedia.comPASSive SOLAR WATER HEATER

Reliable products are more profitable to sell. The heotplpe (1M) Solor Water Heater is "¥irlUalty trouble tree b&couse it uses the boiling and condensing of!Teon liQuid to achieve hIgh rellablity, freeze protection and emclency with no moving ports. eleCtricity. pumps or controls. The entire .1 I the

and lAPMO accepted. You'll 01

keep mo<e ""'"

dollars When you are insfaning the healpipettMj Solol Waler Healer.

~!Ivedlstr1bulor pricing. dealer support, and coop adVertisIng is availoDIe now. WrIte or can RanI Kalito (505) 8364182 for complete Information.

ENERGY ENGINEERING ~

tank. which could supply up to 60,000 Btu/ hr to the house and have ample capacity left over for showers and appliances. Since storage tanks don't have the up-theflue losses 01 ga.Tfired water heaters. lhis system might deliver top efficiencies at a reasonable first cost. When the first such system goes in this fall. I'll repon back on its performance.

Incidentallv. if \'Ou install a water-heater heating system. encourage your clients to treal the unit better than the average water heater-they should drain the sludge. and change anodes periodically.

Integrated systems

TIle idea1 system. I think, v.ill oombine ventilation. heating. and cooling in one inexpensive unit.

Heal-pump water heaters with exhaust· only ventilation. such as the one DEC international. ~ladison. \V"I$.• is coming out v.;th. hold promise. Once stored in the water tank. the heat could be distributed any of the ways rve described above.

Another tack is to install a heating element in the ductv.'Ork of an air-to-air heat exchanger. With its ductwork serving double duty. a heat exchanger becomes a lot more economical. Several buiklerl; h.we had success heating superinsulated names with small (4-\':W) electric heaters this way. Rhode Island builder Arthur Boyce uses a control strategy thaI allows the heater and supply fan to " "Ork alone as an electric fur

nace or with the air-to-air heal exchanger ilar system on the dra"'ing board thaI

uses a hydronlc coil from the water heater rather than an electric element Apollo and other manufacturers make hydronic coils of this type.

Integrated systems from Sca.ndana\ia may hit the market soon. One rve heard about (from Cherry Building Systems AS) handles air filtering. negati\'e-ion generation_ heat reco\·ery. and electric heating in one unit. If it can compete in cost v.;th an air-to-air heat exchanger plus electric strip heating. it should find a welrome market.

When rising d~mand makes these products more 8\'ailab!e and less costly. 10.....energy housing v.ill bener meet ilS promise of low first costs as well as low operating

=«

FOR MORE INFORMATION Room-aize lanlcoll unltll a,. tnIIde by EMnpan. 1m:.. 14168 Poway Rd. Powlly .

Calil. 92046 (Sunvector) Myson, 1m:.. Embrey Industrial PaM!.. P.O. Sox 5025. Falmouth. Va. 22.al (Solar

VlICtor) Turbonies, Im:.. 11200 Madison Ava . Clevaland. Ohio 44 102 (Chill Cha$er) A centrally ctuct.d lanlc:oll unit III -by

Apollo InduiItnM IntematioMl, Inc ..

P.O. Sox 61056. Raleigh. N.C. 27609

(Hydro-Heat)

as a pre-heater of fresh air. He has a Slm

..

SOlAR AGE